City of Kearney

Utilities Department

2022-2023

October - September

Annual Report

Tony Jelinek, Director of Utilities

Sarah Sawin, Assistant Director of Utilities

Theresa Baack & Kim Grotrian, Utilities Secretaries

Jonathan Reiter, GIS Coordinator

Michael Kamler, Water Operations/Sewer Collection Supervisor

Clint Smith, Wastewater Treatment Plant Superintendent

Steve Hart, Sanitation Supervisor

Angela Robertson, Sanitation Secretary

Index

General Information	3

GIS Division	3

Infrastructure	3

Land Base	3

Area of City	4

Residential Lots Available	4

Kearney Area Solid Waste Agency Landfill	4

Waste Received by Type	4

Sanitation Division	4

Processed Recyclables	5

Water Quality/Utilities Coordinator	5

Sewer Collection Division	5

Water Distribution Division	6

Water Production Division	7

Daily Water Consumption October 2022 – March 2023 (Gal)	8

Daily Water Consumption April 2023 – September 2023 (Gal)	9

Microbiological Analysis of Total Coliform Analysis	10

Raw Water Quality	10

Volatile Organic Compounds found in Raw Water	11

Synthetic Organic Compounds found in Raw Water	12

Inorganic Compounds found in Raw Water	13

Wastewater Treatment Plant Division	14

# General Information

The City of Kearney Utilities Department provides water, sanitary sewer and refuse collection services to the citizens of Kearney. Residents receive monthly bills for these services. The Utilities Department also manages the Kearney Area Solid Waste Agency Landfill. The Utilities Department operates as an enterprise fund. The rates charged provide all the revenue necessary to operate the Utilities Department. No Tax Money Assists These Funds.

For more information contact any of the following City offices:

Utility Billing	(308)233-3240

Landfill Billing	(308)233-3617

Sanitation Supervisor	(308)233-3206

Water Operations Supervisor	(308)233-3242

Water Quality/Utilities Coordinator	(308)233-3258

Sanitary Sewer Collection	(308)233-3242

Director of Utilities	(308)233-3259

Assistant Director of Utilities	(308)233-3238

GIS Coordinator	(308)237-3312

Emergency after hours	(308)237-2104

# GIS Division

## Infrastructure

| Layer | 2022-23 # of Feature | 2021-22 # of Feature | 2020-21 # of Feature | 2019-20 # of Feature |
| --- | --- | --- | --- | --- |
| Fire hydrant | 1,907 | 1,894 | 1,873 | 1,837 |
| Water valve | 4,823 | 4,632 | 4,450 | 4,275 |
| Water pipe | 7,102 | 7,034 | 7,000 | 6,881 |
| Storm sewer manhole | 953 | 927 | 906 | 885 |
| Storm sewer inlet | 5,044 | 4,929 | 4,812 | 4,746 |
| Storm sewer pipe | 6,242 | 6,098 | 5,963 | 5,880 |
| Storm sewer ends & outfall | 564 | 542 | 524 | 517 |
| Sanitary sewer manhole | 3,605 | 3,531 | 3,482 | 3,460 |
| Sanitary sewer pipe | 3,983 | 3,909 | 3,873 | 3,846 |
| Street Centerline | 2,798 | 2,766 | 2,737 | 2,550 |
| Address | 22,572 | 21,576 | 21,505 | 20,376 |

## Land Base

|  | 2022-23 | 2021-22 | 2020-21 | 2019-20 | 2018-19 | Total Features |
| --- | --- | --- | --- | --- | --- | --- |
| Annexations | 3 | 4 | 5 | 2 | 4 | 354 |
| Subdivision | 12 | 20 | 20 | 13 | 16 | 930 |
| Zoning | 18 | 23 | 16 | 19 | 18 | 1,299 |
| Vacation | 16 | 29 | 13 | 13 | 13 | 1,454 |
| Minor subdivision | 13 | 22 | 28 | 26 | 16 | 1,244 |

## Area of City

| End of Year | Square Feet | Acres | Square Miles |
| --- | --- | --- | --- |
| 2023 | 429,969,247 | 9,870.77 | 15.42 |
| 2022 | 426,974,014 | 9,802.01 | 15.31 |
| 2021 | 424,231,658 | 9,739.01 | 15.21 |
| 2020 | 414,384,278 | 9,512.95 | 14.86 |
| 2019 | 413,974,701 | 9,480.72 | 14.84 |
| 2018 | 412,104,600 | 9,460.62 | 14.78 |
| 2017 | 400,860,596 | 9,202.49 | 14.38 |
| 2016 | 398,800,762 | 9,155.21 | 14.31 |
| 2015 | 396,386,458 | 9,099.78 | 14.22 |
| 2014 | 392,986,010 | 9,021.72 | 14.10 |
| 2013 | 383,123,209 | 8,795.30 | 13.74 |
| 2012 | 371,899,568 | 8,537.64 | 13.34 |

## Residential Lots Available

|  | Oct. 2022 | Oct. 2021 | Oct. 2020 | Oct. 2019 | Oct. 2018 |
| --- | --- | --- | --- | --- | --- |
| Platted inside City limits with City water/sanitary sewer | 334 | 364 | 319 | 414 | 479 |
| Platted inside City limits with no City water/sanitary sewer | 91 | 96 | 126 | 166 | 95 |
| Platted outside City limits with no City water/sanitary sewer | 173 | 171 | 158 | 181 | 146 |

# Kearney Area Solid Waste Agency Landfill

## Waste Received by Type

|  | 2022-23 Annual Total | 2022-23 Monthly Average | 2021-22 Annual Total | 2021-22 Monthly Average |
| --- | --- | --- | --- | --- |
| Construction demolition (tons) | 21,975 | 1,831 | 21,231 | 1,769 |
| Compacted waste (tons) | 31,520 | 2,627 | 31,624 | 2,635 |
| Total waste (tons) | 58,627 | 4,886 | 57,282 | 4,774 |
| Total number of vehicles | 51,041 | 4,253 | 54,932 | 4,578 |

# Sanitation Division

|  | 2022-23 Annual Total | 2022-23 Monthly Average | 2021-22 Annual Total | 2020-21 Annual Total |
| --- | --- | --- | --- | --- |
| Refuse containers placed for new homes | 107 | 8.9 | 129 | 294 |
| Recycling containers delivered | 192 | 16 | 196 | 382 |
| Refuse collected (tons) ** | 20,326 | 1,694 | 20,278 | 20,455 |

** Roll-off box tonnage not included in total

## Processed Recyclables

|  | 2022-23 Annual Total | 2022-23 Monthly Average | 2021-22 Annual Total | 2020-21 Annual Total |
| --- | --- | --- | --- | --- |
| Office paper (ton) | 37 | 3 | 35 | 30 |
| Newspaper (ton) | 479 | 40 | 529 | 586 |
| Aluminum (ton) | 27 | 2 | 32 | 32 |
| Tin (ton) | 68 | 6 | 72 | 79 |
| Glass (ton) | 201 | 17 | 203 | 200 |
| Plastic (ton) | 294 | 25 | 316 | 224 |
| Cardboard (ton) | 2,603 | 217 | 2,656 | 2,628 |
| Total recycled (tons) | 3,709 | 309 | 3,842 | 3,778 |
| Motor oil (gallons) | 12,376 | 1,030 | 11,260 | 11,520 |
| Recycling revenue | $212,665.37 | $17,722 | $600,154.13 | $346,288.48 |
| Landfill avoidance savings | $101,997.50 | $8,499.80 | $105,649.50 | $103,881.25 |
| Total value of recyclables | $314,662.87 | $26,221.91 | $705,803.63 | $450,169.73 |

# Water Quality/Utilities Coordinator

|  | 2022-23 Annual Total | 2021-22 Annual Total | 2020-21 Annual Total | 2019-20 Annual Total |
| --- | --- | --- | --- | --- |
| Lawn sprinkler system inspection | 65 | 160 | 81 | 71 |
| Backflow inspection | 110 | 90 | 95 | 93 |
| Backflow test reports filed | 564 | 498 | 584 | 555 |
| “Diggers Hot Line” locate | 8,901 | 8,433 | 5,760 | 4,680 |

# Sewer Collection Division

|  | 2022-23 Annual Total | 2021-22 Annual Total | 2020-21 Annual Total | 2019-20 Annual Total |
| --- | --- | --- | --- | --- |
| Sanitary sewer main cleaned (feet) | 394,322 | 127,753 | 119,101 | 148,150 |
| Sanitary sewer call responded | 83 | 113 | 75 | 47 |
| Sanitary sewer service line blocked, resident responsibility | 59 | 51 | 63 | 20 |
| Sanitary sewer televised (feet) | 2,000 | 2,000 | 3,000 | 2,500 |
| Sanitary sewer main in system (mile) | 192.7 | 189.0 | 188.5 | 188.0 |
| Sanitary sewer manhole inspections * | 715 |  |  |  |

*Started tracking inspections 2022-2023.

# Water Distribution Division

|  | 2022-23 Annual Total | 2021-22 Annual Total | 2020-21 Annual Total | 2019-20 Annual Total |
| --- | --- | --- | --- | --- |
| 1” water service installed | 7 | 5 | 6 | 12 |
| 2”, 4”, 6” & 8” water service installed | 2 | 7 | 6 | 6 |
| Water service lines repaired | 102 | 92 | 53 | 53 |
| Lead water service replaced | 3 | 5 | 7 | 5 |
| Fire hydrant replaced | 28 | 7 | 1 | 2 |
| Water main valve replaced | 52 | 11 | 13 | 5 |
| Line stop installed | 3 | 0 | 4 | 3 |
| Water main break repaired | 12 | 6 | 4 | 5 |
| Fire hydrant flushed & flow tested | 2,278 | 1,925 | 1,989 | 2,438 |
| Fire hydrant adjusted to grade | 13 | 16 | 13 | 11 |
| Water main valve exercised | 4,473 | 3,084 | 3,672 | 3,690 |
| Fire hydrant repaired (struck by vehicles) | 10 | 6 | 11 | 5 |
| Fire hydrant painted | 200 | 305 | 192 | 0 |
| Water main in system (mile) | 231.91 | 235 | 230.195 | 228 |
| Fire hydrant in system | 1,935 | 1,903 | 1,871 | 1,836 |
| Water main valve in system | 5,390 | 5,245 | 5,105 | 4,989 |
| Water valves repaired (2) | 69 |  |  |  |
| Water sales (gallon) | 5,817,881 | 2,302,122 | 3,326,790 | 2,749,688 |
| Water sales (cost) (1) | $19,556.75 | $10,129.30 | $10,763.80 | $9,831.60 |

- Water sales are from contractors that use our fire hydrant meters at job sites during the year.

- Started tracking 2022-2023.

# Water Production Division

|  | 2022-23 Annual Total | 2021-22 Annual Total | 2020-21 Annual Total | 2019-20 Annual Total |
| --- | --- | --- | --- | --- |
| Total water pumped (M gal) | 2,427.89 | 2,576.46 | 2,326.34 | 2,229.54 |
| Average daily water demand (gal) | 6,651,750.68 | 7,058,791.78 | 6,373,536.99 | 6,108,320.55 |
| Total water pumped Platte River Well Field (M gal) | 1,457.52 | 1,652.28 | 1,660.34 | 1,666.75 |
| Total water pumped Northwest Well Field (M gallon) | 970.41 | 924.18 | 666.31 | 563.05 |
| High day total pumped (M gal): 9-04-23 | 14.19 | 14.84 | 14.75 | 14.64 |
| High day total pumped Platte River Well Field (M gal): 7-26-23 | 8.99 | 10.13 | 10.51 | 11.24 |
| High day total pumped Northwest Well Field (M gal): 9-4-23 | 5.84 | 6.04 | 4.54 | 3.63 |
| Low day total pumped (M gal): 11-22-22 | 2.98 | 2.87 | 2.54 | 2.53 |
| Low day total pumped Platte River Well Field (M gal): 11-22-22 | 1.52 | 1.51 | 2.01 | 1.35 |
| Low day total pumped Northwest Well Field (M gal): 11-10-22 | 0.68 | 0.51 | 0.40 | 0.39 |
| Total fluoride (lbs) | 53,263.42 | 56,407.51 | 51,045.11 | 43,441.09 |
| Total chlorine 10% solution (lbs) | 404,976.18 | 429,755.87 | 388,074.42 | 390,390.16 |
| Total meter in system | 11,981 | 11,768 | 11,553 | 11,493 |
| Biological sample taken | 615 | 672 | 699 | 676 |
| Fluoride sample taken | 8 | 10 | 14 | 11 |
| Chlorine residual sample taken | 2,112 | 2,123 | 2,125 | 2,121 |
| Nitrate sample taken | 2 | 2 | 3 | 5 |
| pH sample taken | 333 | 334 | 334 | 335 |
| Water temperature sample taken | 388 | 375 | 378 | 398 |
| Conductivity sample taken | 85 | 79 | 77 | 72 |
| Atrazine sample taken | 8 | 1 | 0 | 0 |
| TDS sample taken | 661 | 668 | 667 | 657 |
| SOC sample taken | 3 | 17 | 11 | 10 |
| VOC sample taken | 24 | 36 | 50 | 38 |
| THM sample taken | 23 | 9 | 16 | 0 |
| Radiochemistry sample taken | 6 | 7 | 2 | 17 |
| Arsenic sample taken | 8 | 9 | 1 | 9 |

## Daily Water Consumption October 2022 – March 2023 (Gal)

| Date | October | November | December | January | February | March |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 8,422,000.00 | 4,044,000.00 | 3,942,000.00 | 3,801,000.00 | 3,976,000.00 | 3,755,000.00 |
| 2 | 7,346,000.00 | 4,058,000.00 | 4,246,000.00 | 3,950,000.00 | 4,217,000.00 | 3,411,000.00 |
| 3 | 7,683,000.00 | 4,211,000.00 | 3,925,000.00 | 4,201,000.00 | 3,962,000.00 | 3,602,000.00 |
| 4 | 9,633,000.00 | 3,964,000.00 | 3,947,000.00 | 3,917,000.00 | 3,973,000.00 | 3,696,000.00 |
| 5 | 8,597,000.00 | 4,187,000.00 | 3,793,000.00 | 4,063,000.00 | 4,113,000.00 | 3,701,000.00 |
| 6 | 9,436,000.00 | 3,808,000.00 | 3,863,000.00 | 3,983,000.00 | 4,119,000.00 | 3,946,000.00 |
| 7 | 8,435,000.00 | 3,829,000.00 | 3,973,000.00 | 4,037,000.00 | 4,018,000.00 | 3,619,000.00 |
| 8 | 9,972,000.00 | 4,440,000.00 | 3,796,000.00 | 4,045,000.00 | 3,992,000.00 | 3,629,000.00 |
| 9 | 8,217,000.00 | 3,991,000.00 | 3,857,000.00 | 4,223,000.00 | 3,943,000.00 | 3,623,000.00 |
| 10 | 7,856,000.00 | 3,737,000.00 | 3,591,000.00 | 3,978,000.00 | 3,279,000.00 | 3,651,000.00 |
| 11 | 9,943,000.00 | 3,991,000.00 | 3,640,000.00 | 4,024,000.00 | 3,878,000.00 | 3,643,000.00 |
| 12 | 7,769,000.00 | 3,619,000.00 | 3,737,000.00 | 4,038,000.00 | 4,171,000.00 | 3,609,000.00 |
| 13 | 6,822,000.00 | 3,709,000.00 | 3,741,000.00 | 4,561,000.00 | 4,238,000.00 | 3,633,000.00 |
| 14 | 5,805,000.00 | 3,809,000.00 | 3,916,000.00 | 4,043,000.00 | 3,976,000.00 | 3,641,000.00 |
| 15 | 6,537,000.00 | 4,046,000.00 | 3,469,000.00 | 3,953,000.00 | 3,365,000.00 | 3,610,000.00 |
| 16 | 5,730,000.00 | 4,005,000.00 | 3,454,000.00 | 4,067,000.00 | 3,955,000.00 | 3,634,000.00 |
| 17 | 5,920,000.00 | 3,852,000.00 | 4,421,000.00 | 4,008,000.00 | 3,886,000.00 | 3,627,000.00 |
| 18 | 6,967,000.00 | 3,963,000.00 | 3,522,000.00 | 3,715,000.00 | 3,920,000.00 | 3,459,000.00 |
| 19 | 6,563,000.00 | 3,767,000.00 | 3,155,000.00 | 3,671,000.00 | 3,972,000.00 | 3,683,000.00 |
| 20 | 5,961,000.00 | 3,838,000.00 | 3,864,000.00 | 3,919,000.00 | 4,150,000.00 | 3,660,000.00 |
| 21 | 5,592,000.00 | 3,793,000.00 | 3,549,000.00 | 3,726,000.00 | 3,947,000.00 | 3,606,000.00 |
| 22 | 6,167,000.00 | 3,987,000.00 | 3,524,000.00 | 3,833,000.00 | 3,940,000.00 | 4,419,000.00 |
| 23 | 5,395,000.00 | 4,014,000.00 | 3,494,000.00 | 4,048,000.00 | 4,007,000.00 | 3,729,000.00 |
| 24 | 5,149,000.00 | 3,895,000.00 | 3,375,000.00 | 3,479,000.00 | 4,021,000.00 | 4,056,000.00 |
| 25 | 5,699,000.00 | 3,382,000.00 | 2,868,000.00 | 3,729,000.00 | 3,715,000.00 | 4,626,000.00 |
| 26 | 5,055,000.00 | 3,576,000.00 | 3,298,000.00 | 3,856,000.00 | 4,153,000.00 | 4,328,000.00 |
| 27 | 4,654,000.00 | 3,689,000.00 | 3,096,000.00 | 3,849,000.00 | 4,386,000.00 | 4,764,000.00 |
| 28 | 4,227,000.00 | 3,682,000.00 | 3,401,000.00 | 3,795,000.00 | 4,053,000.00 | 4,838,000.00 |
| 29 | 4,551,000.00 | 4,076,000.00 | 3,398,000.00 | 3,652,000.00 | X | 4,554,000.00 |
| 30 | 4,291,000.00 | 4,007,000.00 | 3,515,000.00 | 4,027,000.00 | X | 4,668,000.00 |
| 31 | 4,146,000.00 | X | 3,560,000.00 | 3,476,000.00 | X | 4,599,000.00 |
| Total | 208,540,000.00 | 116,969,000.00 | 112,930,000.00 | 121,667,000.00 | 111,325,000.00 | 121,019,000.00 |

| High daily consumption of the month = |  |
| --- | --- |
| Low daily consumption of the month = |  |

## Daily Water Consumption April 2023 – September 2023 (Gal)

| Date | April | May | June | July | August | September |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 4,635,000.00 | 7,867,000.00 | 8,749,000.00 | 6,794,000.00 | 9,225,000.00 | 13,076,000.00 |
| 2 | 4,739,000.00 | 7,801,000.00 | 8,491,000.00 | 7,419,000.00 | 9,308,000.00 | 12,683,000.00 |
| 3 | 4,811,000.00 | 9,876,000.00 | 6,087,000.00 | 10,384,000.00 | 8,035,000.00 | 12,430,000.00 |
| 4 | 5,053,000.00 | 9,047,000.00 | 5,851,000.00 | 8,777,000.00 | 8,506,000.00 | 14,127,000.00 |
| 5 | 4,523,000.00 | 9,472,000.00 | 7,309,000.00 | 9,827,000.00 | 7,403,000.00 | 12,814,000.00 |
| 6 | 3,738,000.00 | 6,503,000.00 | 7,314,000.00 | 9,023,000.00 | 7,411,000.00 | 12,852,000.00 |
| 7 | 3,816,000.00 | 6,566,000.00 | 9,640,000.00 | 9,668,000.00 | 9,641,000.00 | 12,569,000.00 |
| 8 | 3,985,000.00 | 8,537,000.00 | 9,390,000.00 | 8,492,000.00 | 7,328,000.00 | 13,100,000.00 |
| 9 | 4,334,000.00 | 6,921,000.00 | 10,033,000.00 | 8,016,000.00 | 8,344,000.00 | 11,612,000.00 |
| 10 | 5,008,000.00 | 6,883,000.00 | 6,593,000.00 | 11,169,000.00 | 7,801,000.00 | 9,584,000.00 |
| 11 | 5,922,000.00 | 5,804,000.00 | 5,708,000.00 | 8,137,000.00 | 8,094,000.00 | 9,983,000.00 |
| 12 | 6,261,000.00 | 6,314,000.00 | 7,514,000.00 | 10,323,000.00 | 8,393,000.00 | 9,426,000.00 |
| 13 | 5,856,000.00 | 5,349,000.00 | 7,104,000.00 | 8,911,000.00 | 8,764,000.00 | 10,056,000.00 |
| 14 | 5,980,000.00 | 5,039,000.00 | 8,856,000.00 | 9,565,000.00 | 10,397,000.00 | 10,181,000.00 |
| 15 | 4,531,000.00 | 6,315,000.00 | 8,797,000.00 | 7,306,000.00 | 10,353,000.00 | 11,040,000.00 |
| 16 | 4,516,000.00 | 5,896,000.00 | 9,952,000.00 | 7,217,000.00 | 12,334,000.00 | 9,794,000.00 |
| 17 | 6,229,000.00 | 7,650,000.00 | 7,053,000.00 | 8,675,000.00 | 11,789,000.00 | 9,981,000.00 |
| 18 | 6,264,000.00 | 7,464,000.00 | 6,954,000.00 | 7,471,000.00 | 12,752,000.00 | 11,596,000.00 |
| 19 | 6,819,000.00 | 8,423,000.00 | 10,304,000.00 | 8,636,000.00 | 12,521,000.00 | 11,083,000.00 |
| 20 | 6,107,000.00 | 7,954,000.00 | 9,322,000.00 | 8,108,000.00 | 12,486,000.00 | 12,130,000.00 |
| 21 | 5,646,000.00 | 8,186,000.00 | 9,278,000.00 | 10,127,000.00 | 13,981,000.00 | 10,248,000.00 |
| 22 | 4,671,000.00 | 10,696,000.00 | 8,007,000.00 | 9,787,000.00 | 13,381,000.00 | 8,217,000.00 |
| 23 | 5,503,000.00 | 8,921,000.00 | 7,511,000.00 | 9,198,000.00 | 14,190,000.00 | 7,096,000.00 |
| 24 | 6,657,000.00 | 10,645,000.00 | 7,437,000.00 | 12,448,000.00 | 13,432,000.00 | 7,203,000.00 |
| 25 | 6,519,000.00 | 8,757,000.00 | 7,633,000.00 | 11,441,000.00 | 12,863,000.00 | 8,765,000.00 |
| 26 | 7,261,000.00 | 9,818,000.00 | 10,860,000.00 | 14,015,000.00 | 10,748,000.00 | 8,189,000.00 |
| 27 | 7,263,000.00 | 8,786,000.00 | 9,667,000.00 | 12,981,000.00 | 10,538,000.00 | 9,606,000.00 |
| 28 | 6,040,000.00 | 7,167,000.00 | 11,393,000.00 | 13,990,000.00 | 12,432,000.00 | 9,362,000.00 |
| 29 | 6,196,000.00 | 8,669,000.00 | 9,513,000.00 | 10,044,000.00 | 12,400,000.00 | 10,650,000.00 |
| 30 | 6,549,000.00 | 8,014,000.00 | 8,987,000.00 | 9,732,000.00 | 12,731,000.00 | 9,554,000.00 |
| 31 | X | 9,200,000.00 | X | 11,403,000.00 | 11,500,000.00 | X |
| Total | 165,432,000.00 | 244,540,000.00 | 251,307,000.00 | 299,084,000.00 | 329,081,000.00 | 319,007,000.00 |

| High daily consumption of the month = |  |
| --- | --- |
| Low daily consumption of the month = |  |

## Microbiological Analysis of Total Coliform Analysis

|  | Number of Samples | Positive Coliform Samples |
| --- | --- | --- |
| October 2021 | 40 | 0 |
| November 2021 | 40 | 0 |
| December 2021 | 40 | 0 |
| January 2022 | 40 | 0 |
| February 2022 | 40 | 0 |
| March 2022 | 40 | 0 |
| April 2022 | 40 | 0 |
| May 2022 | 40 | 0 |
| June 2022 | 40 | 0 |
| July 2022 | 40 | 0 |
| August 2022 | 46 | 2 |
| September 2022 | 40 | 0 |
| Total 2021-2022 | 486 | 0 |

## Raw Water Quality

|  | Analysis Average |
| --- | --- |
| pH | 7.80 |
| Total dissolved solids | 581 (TDS) |
| Electrical conductivity | 0.97 mmho/cm |
| Cation/Anion | 10.5 / 10.1 me/L |
| Sodium, Na | 92 ppm |
| Calcium, Ca | 78.7 ppm |
| Magnesium, Mg | 27 ppm |
| Potassium, K | 13 ppm |
| Total hardness, CaCO3 | 310 ppm |
| Nitrate, N | 0.78 ppm |
| Sulfate, S | 79 ppm |
| Carbonate, CO3 | < 1.0 ppm |
| Bicarbonate, HCO3 | 238 ppm |
| Chloride, cL | 42 ppm |
| Total alkalinity, CaCO3 | 196 ppm |
| Iron, Fe | < 0.01 ppm |
| Fluoride, F | 0.86 ppm |

## Volatile Organic Compounds found in Raw Water

| Compound | Water Results | MLC or AL |
| --- | --- | --- |
| 1,1,1,2-Tetrachlorethane | <RL |  |
| 1,1,1-Trichloroethane | <RL | 200 µg/L |
| 1,1,2,2-Tetrachloroethane | <RL |  |
| 1,1,2-Trichloroethane | <RL | 5 µg/L |
| 1,1-Dichloroethane | <RL |  |
| 1,1-Dichloroethene | <RL | 7 µg/L |
| 1,1-Dichloropropene | <RL |  |
| 1,2,3-Trichlorobenzene | <RL |  |
| 1,2,3-Trichloropropane | <RL |  |
| 1,2,4-Trichlorobenzene | <RL | 70 µg/L |
| 1,2,4-Trimethylbenzene | <RL |  |
| 1,2-Dichlorobenzene | <RL | 600 µg/L |
| 1,2-Dichloroethane | <RL | 5 µg/L |
| 1,2-Dibromoethane (EDB) | <RL |  |
| 1,2-Dichloropropane | <RL | 5 µg/L |
| 1,3,5-Trimethylbenzene | <RL |  |
| 1,3-Dichlorobenzene | <RL |  |
| 1,3-Dichloropropane | <RL |  |
| 1,4-Dichlorobenzene | <RL | 75 µg/L |
| 2,2-Dichloropropane | <RL |  |
| 2-Chlorotoluene | <RL |  |
| 4-Chlorotoluene | <RL |  |
| Benzene | <RL | 5 µg/L |
| Bromobenzene | <RL |  |
| Bromochloromethane | <RL |  |
| Bromodichloromethane (THM) | 4.90 µg/L |  |
| Bromoform | 4.99 µg/L |  |
| Bromomethane | <RL |  |
| Carbon Tetrachloride | <RL | 5 µg/L |
| Chlorobenzene | <RL | 100 µg/L |
| Chloroethane | <RL |  |
| Chloroform | 1.35 µg/L |  |
| Chloromethane | <RL |  |
| Cis-1,2-Dichloroethene | <RL | 70 µg/L |
| Cis-1,3-Dichloropropene | <RL |  |
| Dibromochloromethane (THM) | 10.5 µg/L |  |
| 1,2-Dibromo-3-chloropropane | <RL |  |
| Dibromomethane | <RL |  |
| Dichlorodifluoromethane | <RL |  |
| Dichlormethane | <RL | 5 µg/L |
| Ethylbenzene | <RL | 700 µg/L |
| Hexachlorobutadiene | <RL |  |
| Isopropylbenzene | <RL |  |
| M,P-Xylenes | <RL |  |
| Methyl-T-butyl-ether (MTBE) | <RL |  |
| n-Butylbenzene | <RL |  |
| n-Propylbenzene | <RL |  |
| Naphthalene | <RL |  |
| O-Xylene | <RL |  |
| P-Isopropyltoluene | <RL |  |
| Sec-Butylbenzene | <RL |  |
| Styrene | <RL | 100 µg/L |
| Tert-Butylbenzene | <RL |  |
| Tetrachloroethene | <RL | 5 µg/L |
| Toluene | <RL | 1000 µg/L |
| Total Trihalomethanes (TTHM) | 21.7 µg/L | 80 µg/L |
| Trans-1,2-Dichloroethene | <RL | 100 µg/L |
| Trans-1,3-Dichloropropene | <RL |  |
| Trichloroethene | <RL | 5 µg/L |
| Trichlorofluoromethane | <RL |  |
| Vinyl Chloride | <RL | 2 µg/L |

## Synthetic Organic Compounds found in Raw Water

| Compound | Water Results | MLC or AL |
| --- | --- | --- |
| Alachlor | <RL | 2 µg/L |
| Aldrin | <RL |  |
| Atrazine | <RL | 3 µg/L |
| Benzo(a)pyrene | <RL | 0.2 µg/L |
| Butachlor | <RL |  |
| Butylate | <RL |  |
| Chlorpyrifos | <RL |  |
| Cyanazine | <RL |  |
| Di(2-ethylhexyl)adipate | <RL | 400 µg/L |
| Di(2-ethylhexyl)Phthalate | <RL | 6 µg/L |
| Dieldrin | <RL |  |
| Endrin | <RL | 2 µg/L |
| Fonofos | <RL |  |
| Heptachlor | <RL | 0.4 µg/L |
| Heptachlor Epoxide | <RL | 0.2 µg/L |
| Hexachlorobenzene | <RL | 1 µg/L |
| Hexachlorocyclopentadiene | <RL | 50 µg/L |
| Lindane | <RL | 0.2 µg/L |
| Methoxychlor | <RL | 40 µg/L |
| Metolachlor | <RL |  |
| Metribuzin | <RL |  |
| Propachlor | <RL |  |
| Simazine | <RL | 4 µg/L |
| Total Chlordane | <RL | 2 µg/L |
| Trifluralin | <RL |  |

## Inorganic Compounds found in Raw Water

| Compound | Water Results | MLC or AL |
| --- | --- | --- |
| Cyanide | <RL | 0.2 µg/L |
| Sulfate | 215 |  |
| Antimony, Total | <RL | 6 µg/L |
| Thallium, Total | <RL | 2 µg/L |
| Nickel, Total | <RL | 100 µg/L |
| Beryllium, Total | <RL | 4 µg/L |

MLC =	Maximum Contaminate Level – The concentration of the analysis which has been determined by the EPA to put the public at risk. Concentrations below this level are considered acceptable.

AL =	Action Levels (AL) apply only to lead and copper and are not based on known or expected health effects. An Action Level is the concentration of a contaminant in a sample which, if exceeded and grouped with other samples, triggers treatment techniques or other requirements which a water system must follow.

<RL =	Less than Reporting Limit. The lowest amount of the analyte that can be accurately reported by the method used.

µg/L =	Parts Per Billion

# Wastewater Treatment Plant Division

| Annual Average | 2022-23 | 2021-22 | 2020-21 | 2019-20 |
| --- | --- | --- | --- | --- |
| Effluent BOD mg/l | 4.27 | 4.32 | 4.14 | 3.75 |
| Effluent Suspended Solids mg/l | 4.64 | 4.81 | 5.33 | 4.94 |
| Effluent pH (standard units) | 7.49 | 7.52 | 7.44 | 7.45 |
| Effluent Temperature deg C | 16.40 | 16.04 | 16.12 | 15.60 |
| Effluent NO3 mg/l | 12.11 | 14.85 | 13.72 | 12.48 |
| Effluent Dissolved Oxygen mg/l | 4.35 | 4.30 | 4.54 | 4.71 |
| Effluent NH3-N mg/l | 0.53 | 0.58 | 0.34 | 0.66 |
| Influent BOD mg/l | 147.93 | 143.26 | 143.56 | 125.08 |
| Influent Suspended Solids mg/l | 311.52 | 287.66 | 287.31 | 255.91 |
| Influent pH (standard units) | 7.58 | 7.64 | 7.48 | 7.49 |
| Influent Temperature deg C | 17.19 | 17.26 | 16.84 | 16.59 |
| Influent NH3-N mg/l | 23.52 | 26.71 | 25.56 | 23.89 |
| Total influent flow (B gal) | 1.39 | 1.30 | 1.40 | 1.46 |
| Average daily influent flow (M gal/day) | 3.81 | 3.66 | 3.84 | 4.00 |
| Total effluent flow (B gal) | 1.40 | 1.34 | 1.40 | 1.46 |
| Average daily effluent flow (M gal/day) | 3.84 | 3.66 | 3.84 | 4.01 |
| Total R.A.S. flow (M gal) | 904.08 | 916.92 | 1194.46 | 957.69 |
| Average daily R.A.S. flow (M gal/day) | 2.48 | 2.51 | 3.27 | 2.77 |
| Total W.A.S. flow (M gal) | 12.91 | 14.20 | 12.46 | 10.57 |
| Average daily W.A.S. flow (gal/day) | 35,489.64 | 38,868.91 | 34,100.28 | 29,106.82 |
| Sludge pumped (M gal) | 6.22 | 6.45 | 6.27 | 6.28 |
| Sludge hauled (ton) | 3,339.16 | 3,502.86 | 3,321.52 | 3,255.48 |
| Sludge hauled (Cu Yd) | 3,506.12 | 3,749.89 | 5,320.14 | 5,413.98 |
| Total screw press operation (day) | 113.00 | 117.00 | 117.00 | 117.00 |
| Average daily sludge hauled (ton) | 28.54 | 29.94 | 28.39 | 27.82 |
| Average Feed Solids % | 4.69 | 3.51 | 3.44 | 3.70 |
| Average Cake Solids % | 24.20 | 25.05 | 25.59 | 26.61 |
| Average sludge pumped (gal/day) | 58,628.28 | 62,018.31 | 61,671.33 | 55,121.97 |
| Total Plant Alarms | 44.00 | 44.00 | 45.00 | 40.00 |
| Total lift station alarm | 62.00 | 62.00 | 44.00 | 45.00 |
| BOD Reduction | 93.0 % | 96.9 % | 97.1% | 96.9% |
| Suspended Solids Reduction | 98.03 % | 98.29 % | 98.09% | 98.05% |
| Ammonia Reduction | 89.58 % | 97.81 % | 98.65% | 97.25% |
| Average e-coli (May 1st – Sept. 30th) | 44.07 | 71.52 | 19.00 | 42.34 |
| Permit Limits |  |  |  |  |
| Effluent BOD Permit Limit | 25 | 25 | 25 | 25 |
| Effluent Suspendend Solids Permit Limit | 30 | 30 | 30 | 30 |
| Effluent NH3 Permit Limit | 1.13 | 1.13 | 1.13 | 1.13 |
| Effluent PH Minimum Permit Limit | 6.5 | 6.5 | 6.5 | 6.5 |
| Effluent PH Maximum Permit Limit | 9 | 9 | 9 | 9 |